Oral exam topics

Pharmacy major

2016 May

Instrumental analysis

- The physical-chemical basis of signal parameters. The main parts of an analytical instrument. The process of analytical measurements. Calibration methods. Calculation of errors. Signal to noise ratio.

- Potentiometric methods. Potentiometric electrodes. Potentiometry in practice.

- Conductometric methods. Conductometry in practice and applications.

- Principles of the major spectrochemistry methods. Spectral regions. Measuring the concentration with spectrophotometer. The Lambert-Beer law.

- Spectrophotometry in practice. The operating principles of single-beam and double-beam spectrophotometers. Monochromators. Cuvettes. Photomultiplicator tube.

- Molecular spectroscopy methods. Principles. Ultraviolet (UV) – Visible and infrared(IR) spectroscopy. Information obtained from IR spectra.

- Fluorescence analytical methods - principles and applications. Fluorimeter and spectrofluorimeter. Excitation and emission spectra. Quenching. Fluorescence labeling.

- Atomic spectroscopy. Atomic absorption and emission techniques. ICP-MS.

- Nuclear magnetic resonance spectroscopy used for structure analysis. The NMR spectrum of ethanol. The chemical shift. Spin-spin interactions (coupling). The coupling constant (J).

- Principles of chromatographic separations. Types of chromatographic methods. Qualitative and quantitative evaluation.

- The practice of liquid chromatography. Injection. Detection methods. HPLC.

- Principles of gas chromatography. GC in practice.

- Electrophoresis. Theoretical background. Electroendosmotic flow (advantages and disadvantages). Zone electrophoresis.

- Gel electrophoresis. Isoelectric focusing. Capillary electrochromatography. Separation of chiral compounds.

- Mass spectrometry. Basic principles. General scheme of a mass spectrometer. Types of ion sources (electrospray, electron impact, chemical ionization, MALDI, FAB, APCI, APPI).

- Types of mass analyzers (magnetic sector, quadrupole, ion trap, time of flight). Detectors.

- Analytical information obtained from the mass spectra. Hyphenated techniques (GC-MS, LC-MS, CE-MS). MS spectrum of n-butane.

- Thermal methods: thermogravimetry; differential thermal analysis; differential scanning calorimetry.